# SPILL PREVENTION CONTROL

In complying with the DEP and our Environmental Compliance we are instructed to meet and review the Spill Prevention Plan for ______________ Plant annually.  The following information is what is in our plan for us to follow in case of an unexpected spill of contaminants onto our grounds.

Description of Storage Capacity {40 C.F.R. 112.7(a)(3)(i)}

- ______ Gallon Welded Steel Unleaded Gasoline Above ground Storage with 110% secondary containment structure.

- ______ Gallon Welded Steel Diesel Fuel Oil Above ground storage with 110% secondary containment structure.

- ______ Gallon Welded Steel Diesel Fuel Oil Above ground Tank with 110% secondary containment structure.

- _____ Gallon Welded Steel Diesel Fuel Above ground Storage Tank with 110% secondary containment structure.

- ____ Gallon Welded Steel Waste Oil Above ground Storage Tank with 110% secondary containment structure.

- _____ Gallon Welded Steel 30W Gear Oil Above ground Storage Tank with 110% secondary containment structure.

- ___ Gallon Welded Steel Diesel Fuel Above ground Storage Tank with 110% secondary containment structure.

In the case of a discharge the following people should be contacted:

Plant Manager(s)

Mr. Plant Manager				                             909 411-0911

Mr. Assistant Plant Manager				     909 411-0911

Emergency Responses

Environmental Officer

Mr. Environmental Officer				       	    909 411-0911

Mr. Assistant Environmental Officer			    909 411-0911

Clean up Contractor

Name

Address

Phone Numbers

FDEP District Office

Name

Address

Phone Numbers

## Information Needed to Report a Spill

- Exact address or location

- Phone number of the facility

- Time and date of discharge

- Type and estimated quantity of the discharge

- Estimated quantity discharged onto navigable waters

- Probable source of discharge

- Description of affected media

- Cause of discharge

- Damage or injuries caused

- Action taken to stop, remove, and mitigate the effects of the discharge

- Whether evacuation was required

- Persons/organizations contacted

If there is a leak or discharge from an oil storage container/system, follow these procedures:

- If there is a fire or imminent threat call 911.

- Determine source of discharge.

- Call the following Plant Phone Number:

  - Emergency Response Coordinator(s)

a. Mr Environmental Mgr			 ---909 411-0911

b. Plant Manager				             —909 411-0911

c.  Mr Assistant Environmental Mgr	             ---909 411-0911

d. Anyone designated in plant

After reporting the discharge, efforts must be make to contain the discharge, preventing product from reaching drainage structures.  The Facility Management Staff must make the following calls:

        - USEPA 1-800-424-8802

        - State Warning Point 1-800-Phone Number

        - FDEP Bureau of Emergency Response (8-5 only) Phone Number

        - Clean-up Contractor:  Name and Phone Number